Finglai


PR series DC 3 wire inductive proximity sensor manual
Thank you very much for selecting Finglai products. For your safety, please read the following before using.

▇ Caution for your safety 
	※Please keep these instructions and review them before using this unit.

	※Please observe the cautions that follow:

 eq \o\ac(△,!) Warning Serious injury may result if instructions are not followed.

 eq \o\ac(△,!) Caution Product may be damaged, or injury may result if instructions are not followed.

	※The following is an explanation of the symbols used in the operation manual.

 eq \o\ac(△,!)Caution: injury or danger may occur under special conditions.


	 eq \o\ac(△,!) Warning


1. In case of using this unit with machineries(Nuclear power control, medical equipment vehicle, train, airplane, combustion apparatus entertainment or safety device etc), it requires installing fall-safe device, or contact us for information on type required.

It may result in serious damage, fire or human injury.

	 eq \o\ac(△,!) Caution


1. Do not use this unit in place where there are flammable, explosive gas, chemical or strong alkalis, acids.

It may cause a fire or explosion.

2. Do not impact on this unit.

It may result in malfunction or damage to the product.

3. Do not apply AC power and observe specification rating.

It may result in serious damage to the product.
▇ Ordering information
[image: image1.emf]Appearance:


Cylindrical type


Diameter


of head


(mm)


Inductive


proximity


sensor


Type:


No indication: Standard


S: Short pipe type


L: Long pipe type


W: Outgoing connector cable type


WL: Outgoing connector cable type


        with long pipe


P               R                     L                                                 18           -     5                  DN


Standard


detecting


distance


(mm)


DN:


NPN NO (Normal Open)


DN2: NPN NC (Normal Close)


DP:


PNP NO (Normal Open)


DP2 :PNPNC (Normal Close)




Appearance:

Cylindrical type

Diameter

of head

(mm)

Inductive

proximity

sensor

Type:

No indication: Standard

S: Short pipe type

L: Long pipe type

W: Outgoing connector cable type

WL: Outgoing connector cable type

        with long pipe

P               R                     L                                                 18           -     5                  DN

Standard

detecting

distance

(mm)

DN: NPN NO (Normal Open)

DN2: NPN NC (Normal Close)

DP: PNP NO (Normal Open)

DP2 :PNPNC (Normal Close)


▇ Control output diagram & Load operating 

                                                NPN

[image: image2.emf]Indicator


Operation


ON


NO


+V


Load


Blue


(LED)


Return


OFF


Load


Detecting


0V


(Brown-Black)


Presence


H


Brown


NC


Main circuit


Output voltage


Nothing


L


2¦¸


target


(Black-Blue)


Black


10K¦¸




Indicator

Operation

ON

NO

+V

Load

Blue

(LED)

Return

OFF

Load

Detecting

0V

(Brown-Black)

Presence

H

Brown

NC

Main circuit

Output voltage

Nothing

L

2Ω

target

(Black-Blue)

Black

10KΩ


                                                PNP

[image: image3.emf]NO


target


(Black-Blue)


10K¦¸


L


Main circuit


Brown


Nothing


Indicator


2¦¸


ON


Load


NC


Black


Operation


Detecting


Output voltage


Load


H


0V


Presence


(Black-Blue)


Blue


Return


+V


OFF


(LED)




NO

target

(Black-Blue)

10KΩ

L

Main circuit

Brown

Nothing

Indicator

2Ω

ON

Load

NC

Black

Operation

Detecting

Output voltage

Load

H

0V

Presence

(Black-Blue)

Blue

Return

+V

OFF

(LED)


▇ Connection 
[image: image4.emf]2


3


Blue


0V


2


3


Black


Load


Blue


1


4


Brown


+V


1


4


Load


Black


Brown


+V


0V




2

3

Blue

0V

2

3

Black

Load

Blue

1

4

Brown

+V

1

4

Load

Black

Brown

+V

0V


▇ Mutual-interference & Influence by surrounding metals
Mutual-interference

When plural proximity sensors are mounted in a close row, malfunction of sensor may caused due to

mutual interference. Therefore, be sure to provide a minimum distance between the two sensors, as

below charts.

[image: image5.emf]A




A

       [image: image6.emf]B




B


            Face to face                                    Parallel

Influence by surrounding metals When sensors are mounted on metallic panel, it must be prevented sensors from being affected by any metallic object except target. Therefore, be sure to provide a minimum distance as below chart.

[image: image7.emf]c


c


m


c


n


¦µd




c

c

m

c

n

Φd


	Model
Item
	PR08-1.5D□
	PR08-2D□
	PR□12-2D□
	PR□12-4D□
	PR□18-5D□
PRW□18-5D□
	PRD16-8D□
PRW08-8D□
	PR□30-10D□
PRW□30-100□
	PR□30-150□PRW□30-15D□

	A
	9
	12
	12
	24
	30
	48
	60
	90

	B
	16
	24
	24
	36
	36
	54
	60
	90

	c
	0
	8
	0
	11
	0
	14
	0
	15

	Φd
	8
	12
	12
	36
	18
	54
	30
	90

	m
	4.5
	6
	6
	12
	15
	24
	30
	54

	n
	12
	18
	18
	36
	27
	54
	45
	90


▇ Setting distance

[image: image8.emf]Target


Sn


Moving


direction


Sa


Sn: Sensing distance


Sa: Setting distance


(70% of Sn)


(a)


Moving


direction


Target


(b)




Target

Sn

Moving

direction

Sa

Sn: Sensing distance

Sa: Setting distance

(70% of Sn)

(a)

Moving

direction

Target

(b)

•Detecting distance can be changed by the shape, size or material of the target.

Therefore please check the detecting distance like (a), then pass the target within range or setting distance (Sa).

•Setting distance (Sa) =Detecting distance (Sn) x70% ex)PR30-10DN(See ordering information)

Setting distance (Sa) = 10mm x 0.7 = 7mm
▇ Caution for using

1. This equipment shall not be used outdoors or beyond specified temperature range

2. Do not load over than tensile strength of cord. (04:3ON max., 05:5ON max.)

3. Do not use the same conduct with cord of this unit and electric power line. Also avoid the same connection. 
4. Do not put overload to tighten nut, please use washer for tightening.

Note 1: Allowable strength may be different by the length of head. As see the picture, allowable tightening strength of 
front part and rear part are in (Chart 1). Rear part induces head nut as like picture.

Note 2: (Chart 1) is for using washer.

[image: image9.emf][Picture 1]


[Picture 2]


Rear


bracket


mounting


Front


washer


Head




[Picture 1] [Picture 2]

Rear

bracket

mounting

Front

washer

Head

5. Please check the voltage changes of power source in order not to excess rating power input.

6. Do not use this unit during transient time (80ms) after apply power.

7. It might result in damage to this product, if use automatic transformer. So please use insulated transformer.

8. Please make wire short as much as possible in order to avoid noise.

	Strength

Model
	Front
	Rear

	
	Size
	Torque
	Torque

	PR08
Series
	Flush
	7mm
	90kgf*cm
	120kgf*cm

	
	Non-flush
	5mm
	
	

	PR12
Series
	Flush
	13mm
	65kgf*cm
	120kgf*cm

	
	Non-flush
	7mm
	
	

	PR18
Series
	Flush
	22mm
	150kgf*cm
	150kgf*cm

	
	Non-flush
	12.5mm
	
	

	PR30
Series
	Flush
	26mm
	500kgf*cm
	800kgf*cm

	
	Non-flush
	12mm
	
	


9. Be sure to cable as indicated specification on this product. If use wrong cable or bended cable

not maintain the water-proof.

10. It is possible to extend cable with over0.3mmz and max. 200m.

11. If the target is plated, the operating distance can be changed by the plating material.

12. It may result in malfunction by metal particle on product.

13. If there are machines(Motor, Welding machinery), which occurs big surge around this unit, please install

the Visitor or absorber to source of surge, even though there is built-in surge absorber in this unit.

14. If connect the load with big inrush current (DC type blub) to this unit, the big inrush current will flow

due to the initial resistance is low. If the current flows, the resistance of load will be bigger, then it will

return to standard current. In this case, proximity sensor might be damaged by inrush current.

If you use build, please connect relay or resistance in order to protect proximity sensor from.

15. if make a transceiver close to proximity sensor or wire connection, it may cause malfunction.
※It may cause malfunction if above instructions are not followed.

1

